{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["Sheet1"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":82,"n_cols":7,"rows_kept":82,"merged":[[0,0,0,6],[1,0,1,2],[1,3,1,6],[2,0,2,2],[2,3,2,6],[4,0,79,0],[4,1,14,1],[15,1,25,1],[25,4,25,6],[26,1,31,1],[31,4,31,6],[32,1,37,1],[37,4,37,6],[38,1,64,1],[64,4,64,6],[65,1,71,1],[69,4,69,6],[70,4,70,6],[71,4,71,6],[72,1,72,2],[72,4,72,6],[73,1,73,2],[73,4,73,6],[74,1,74,2],[74,4,74,6],[75,1,75,2],[75,4,75,6],[76,1,76,2],[76,4,76,6],[77,1,77,2],[77,4,77,6],[78,1,78,2],[78,4,78,6],[79,3,79,6],[80,0,82,4],[80,5,80,6],[81,5,81,6],[82,5,82,6]],"flags":["formulas_cached_only"]}
["贵州省都匀市第四届中国绿化博览会博览园建设项目矿坑剧院装配式卫生间配备清单"]
["产品规格",null,null,"长（L）*宽（W）*高（H）:6*12*3.2m"]
["备注",null,null,"（中、高端配置；品牌为一线要求，其它未尽品牌等由投标人自行完善）"]
["项目","结构","序号","名称","品牌","数量","单位"]
["用材配置","墙体部分",1,"100*100*4mm镀锌管","正大",8,"根"]
[null,null,2,"80*80*4mm镀锌管","正大",36,"根"]
[null,null,3,"60*80*3mm镀锌管","正大",39,"根"]
[null,null,4,"30*60*3mm镀锌管","正大",109,"根"]
[null,null,5,"金属保温一体板（颜色自选）",null,91.1,"m2"]
[null,null,6,"保温岩棉",null,146,"m2"]
[null,null,7,"高光仿石材UV内墙板（颜色自选）",null,203.5,"m2"]
[null,null,8,"硅酸钙板衬板",null,72,"张"]
[null,null,9,"室外景观格栅",null,11.7,"m2"]
[null,null,10,"踢脚线",null,58,"m"]
[null,null,11,"小计"]
[null,"顶架部分",12,"100*100*4mm镀锌管","正大",4,"根"]
[null,null,13,"80*80*4mm镀锌管","正大",6,"根"]
[null,null,14,"30*60*3mm镀锌管","正大",60,"根"]
[null,null,15,"20*40*2.5mm镀锌管","正大",16,"根"]
[null,null,16,"1.5mm热镀锌板","正大",41.88,"m2"]
[null,null,17,"彩钢板",null,72,"m2"]
[null,null,18,"防水材料",null,72,"m2"]
[null,null,19,"夹芯板",null,25,"张"]
[null,null,20,"9mm木工板",null,72,"m2"]
[null,null,21,"铝扣板吊顶",null,72,"m2"]
[null,null,22,"小计"]
[null,"底架部分",23,"12#槽钢","正大",10,"根"]
[null,null,24,"10#槽钢","正大",4,"根"]
[null,null,25,"30*60*3mm镀锌管","正大",60,"根"]
[null,null,26,"高档防滑瓷砖",null,72,"m2"]
[null,null,27,"水泥压力板",null,72,"m2"]
[null,null,28,"小计"]
[null,"门窗部分",29,"铝合金门","凤铝",5,"扇"]
[null,null,30,"铝合金窗","凤铝",9.24,"m2"]
[null,null,31,"定制对开门",null,4,"m2"]
[null,null,32,"排风扇",null,6,"个"]
[null,null,33,"门锁",null,6,"副"]
[null,null,34,"小计"]
[null,"电路及卫生间配套设施",35,"配电箱",null,1,"套"]
[null,null,36,"漏电保护器",null,1,"组"]
[null,null,37,"空气开关",null,8,"个"]
[null,null,38,"电线",null,140,"m"]
[null,null,39,"平板灯",null,9,"个"]
[null,null,40,"照明开关","松下",8,"个"]
[null,null,41,"电源插座","松下",12,"个"]
[null,null,42,"衣帽钩",null,8,"个"]
[null,null,43,"卷纸架",null,8,"个"]
[null,null,44,"干手器",null,2,"个"]
[null,null,45,"小便斗",null,3,"个"]
[null,null,46,"隔断",null,10,"套"]
[null,null,47,"蹲便器",null,7,"套"]
[null,null,48,"水箱",null,7,"套"]
[null,null,49,"洗手台加柜档",null,7,"套"]
[null,null,50,"折叠多功能台",null,1,"套"]
[null,null,51,"折叠儿童座椅",null,1,"套"]
[null,null,52,"残疾人马桶",null,1,"个"]
[null,null,53,"儿童马桶",null,1,"个"]
[null,null,54,"残疾人小便斗",null,1,"个"]
[null,null,55,"报警呼叫系统",null,1,"个"]
[null,null,56,"残卫扶手",null,1,"套"]
[null,null,57,"镜子",null,3,"个"]
[null,null,58,"排水系统",null,1,"套"]
[null,null,59,"拖把盆",null,1,"个"]
[null,null,60,"地漏",null,8,"个"]
[null,null,61,"小计"]
[null,"辅助材料",62,"万能胶",null,8,"桶"]
[null,null,63,"结构胶",null,18,"箱"]
[null,null,64,"氟碳喷漆（底漆+面漆）",null,130.57999999999998,"m2"]
[null,null,65,"亚克力字标牌",null,1,"套"]
[null,null,66,"氩气、焊丝、磨片"]
[null,null,67,"小计"]
[null,null,68,"材料合计"]
[null,"一",null,"制作费（安装费）"]
[null,"二",null,"管理费"]
[null,"三",null,"损耗"]
[null,"四",null,"税收",{"v":0.13,"d":"13%"}]
[null,"五",null,"运费"]
[null,"六",null,"吊车费"]
[{"$nulls":3},"总计"]
[null,"大写人民币："]
["    公司公章：",{"$nulls":4},"核算人："]
[{"$nulls":5},"核算日期："]